Sprinkler System Solutions LTD

Domestic & Residential Sprinkler System

07742951364

The sprinkler system installed at your property is in compliance with BS:9251:2014.

The system consists of a Fire Retardant pipe with carefully positioned concealed Sprinkler Pendants and a Valve Set located at the water mains within the Property. The Valve Set should be left as it is when the Homeowner moves in, System full and left open at all times e.g when on Holidays.

Fire sprinklers are individually activated by heat connected by pipework either direct of the water mains or tank and pump. When the temperature rises in the event of a fire the sprinklers will operate at a specific heat. First the cover plates will drop at around 60 degrees then the pendant will drop lower than the ceiling which will activate around 70 degrees. When the flow of water is detected an alarm will sound.

In the event of a Fire all persons should leave the Property immediately and remain outside until the Fire Brigade arrive or Fire is distinguished. The system will NOT acidentally go off. The system will give a minimum of 10 minutes to evacuate. Only the Sprinklers near the Fire will operate (normally one or two as they work individually) This maximizes water pressure to the source of the Fire and minimizes water damage to the building. It’s a simple ‘Set and Forget System’

A yearly service is recommended. Check the properties Commissioning Certificate to see when a service is next due.

Any other queries please do not hesitate to get in touch,

Thanks